## Slide 1: Body Motion
Alex Mariakakis
University of Toronto
Department of Computer Science

## Slide 2: Why Study Human Body Motion?
Domain | Purpose
Physical Injury Rehabilitation | Ensure that the correct muscles are being targeted during therapy
Sports Performance | Identify areas for improvement, technique optimization, and injury risk reduction
Aging | Track deterioration of range-of-motion, balance, and overall coordination
Neurological Disorders | Detect external indicators of abnormalities in the nervous system

## Slide 3: Cameras
Pros
Body- and hand-pose tracking are well-studied in computer vision
Cons
Compromises privacy in public and passive settings
Dependent on field of view

## Slide 4: Inertial Measurement Units (IMUs)
Pros
Does not contain protected health information
Completely portable
Cons
Accuracy depends on sensor placement (e.g., step counting from pocket versus watch)
Includes multiple signals:
Accelerometer (linear motion)
Gyroscope (rotational motion)
Magnetometer (orientation), sometimes

## Slide 5: Pressure-Sensitive Mats
Pros
Specifically designed for gait analysis
Simplifies measurements like stride length and gait speed
Cons
Only designed for gait analysis
Fixed location
Expensive

## Slide 6: Other Sensors
Electromyography (electrical activity in muscles)
Goniometers / Strain gauges (flexion of joints)
Motion Capture System (precise marker tracking)

## Slide 7: Resources
Gait Analysis: An Introduction (Whittle ‘91)